## Raw data table
t/s
V/V | Charging R/ohm |  |  | Discharging R/ohm
| 0 | 100 | 330 | 0 | 100 | 330
9 | 2.33 | 35.6 |  | 0.19 | 1.48 | 6.64
| 2.33 |  |  | 0.14 |  | 5.79 | Timing accuracy checking:
8 | 1.99 | 23.43 | 93.6 | 0.35 | 4.42 | 11.7 | 4.05
| 1.95 |  |  | 0.23 |  |  | 4.21
7 | 1.55 | 15.33 | 53.4 | 0.61 | 6.49 | 17.43 | 4.13
| 1.42 |  |  | 0.52 |  |  | 4.05
6 | 1.3 | 10.98 | 39.49 | 0.88 | 8.73 | 25.88 | 4.19
| 1.22 |  |  | 0.69 |  |  | 4.15
5 | 0.99 | 8.44 | 26.57 | 0.28 | 11.69 | 33.74 | 3.99
| 0.89 |  |  | 0.97
4 | 0.57 | 6.51 | 19.32 | 1.33 | 15.35 | 45.08
| 0.71 |  |  | 1.34
3 | 0.61 | 4.32 | 12.28 | 1.34 | 19.55 | 60.76
| 0.53 |  |  | 1.54
2 | 0.49 | 2.92 | 7.79 | 2.28 | 27.06 | 86.05
| 0.4 |  |  | 2.37
1 | 0.19 | 0.86 | 1.86 | 4.48 | 45.55 | 136
| 0.11 |  |  | 3.88
Start V: | 0.55 | 0.5 | 0.6 | 9.4 | 9.6 | 9.4
4P1 capacitor charging and discharging practical. Winchester College. Friday 1st May 2015.

## Analysis
4P1 capacitor charging and discharging practical. Winchester College. Friday 1st May 2015. | [7 empty] | Analysis by Dr Andrew French.
|  | Voltage offset /V | 0.55 | V0 | 9.05
|  | Added resistance/ohms | 0 | RC | 1.35 |  | Added resistance/ohms | 0
|  | Measured voltage /V | Voltage sans offset /V | Charging time /s | model charge times/s |  | Measured voltage /V | Voltage sans offset /V | Discharging time /s | ln(V0/V) | Ln(V)
|  | 1 | 0.45 | 0.15 | 0.068853 |  | 1 | 0.45 | 4.18 | 2.9789 | -0.79851
Timing accuracy checking: |  | 2 | 1.45 | 0.445 | 0.23573 |  | 2 | 1.45 | 2.325 | 1.8089 | 0.37156
4.05 |  | 3 | 2.45 | 0.57 | 0.42619 |  | 3 | 2.45 | 1.44 | 1.2843 | 0.89609
4.21 |  | 4 | 3.45 | 0.64 | 0.648 |  | 4 | 3.45 | 1.335 | 0.94204 | 1.2384
4.13 |  | 5 | 4.45 | 0.94 | 0.91356 |  | 5 | 4.45 | 0.97 | 0.68751 | 1.4929
4.05 |  | 6 | 5.45 | 1.26 | 1.2445 |  | 6 | 5.45 | 0.785 | 0.4848 | 1.6956
4.19 |  | 7 | 6.45 | 1.485 | 1.6838 |  | 7 | 6.45 | 0.565 | 0.31634 | 1.8641
4.15 |  | 8 | 7.45 | 1.97 | 2.3392 |  | 8 | 7.45 | 0.29 | 0.1722 | 2.0082
3.99 |  | 9 | 8.45 | 2.33 | 3.6633 |  | 9 | 8.45 | 0.165 | 0.046251 | 2.1342
|  | 9.5 | 8.95 |  | 6.0822 |  | 9.4 | 8.85 | 0 | 0 | 2.1804
Standard deviation of timings /s |  | Voltage offset /V | 0.5 | V0 | 9.59
0.08165 |  | Added resistance/ohms | 100 | RC | 14.77 |  | Added resistance/ohms | 100
|  | Measured voltage /V | Voltage sans offset /V | Charging time /s | model charge times/s |  | Measured voltage /V | Voltage sans offset /V | Discharging time /s | ln(V0/V) | Ln(V)
|  | 1 | 0.5 | 0.86 | 0.79087 |  | 1 | 0.45 | 45.55 | 3.0013 | -0.79851
|  | 2 | 1.5 | 2.92 | 2.5123 |  | 2 | 1.45 | 27.06 | 1.8312 | 0.37156
|  | 3 | 2.5 | 4.32 | 4.4611 |  | 3 | 2.45 | 19.55 | 1.3067 | 0.89609
|  | 4 | 3.5 | 6.51 | 6.7067 |  | 4 | 3.45 | 15.35 | 0.96439 | 1.2384
|  | 5 | 4.5 | 8.44 | 9.356 |  | 5 | 4.45 | 11.69 | 0.70986 | 1.4929
|  | 6 | 5.5 | 10.98 | 12.5866 |  | 6 | 5.45 | 8.73 | 0.50715 | 1.6956
|  | 7 | 6.5 | 15.33 | 16.7278 |  | 7 | 6.45 | 6.49 | 0.33868 | 1.8641
|  | 8 | 7.5 | 23.43 | 22.5029 |  | 8 | 7.45 | 4.42 | 0.19455 | 2.0082
|  | 9 | 8.5 | 35.6 | 32.118 |  | 9 | 8.45 | 1.48 | 0.068598 | 2.1342
|  | 9.5 | 9 |  | 41.184 |  | 9.6 | 9.05 | 0 | 0 | 2.2028
|  | Voltage offset /V | 0.6 | V0 | 9.74 |  | Added resistance/ohms | 330
|  | Added resistance/ohms | 330 | RC | 44.28 |  | Measured voltage /V | Voltage sans offset /V | Discharging time /s | ln(V0/V) | Ln(V)
|  | Measured voltage /V | Voltage sans offset /V | Charging time /s | model charge times/s |  | 1 | 0.45 | 136 | 2.9789 | -0.79851
|  | 1 | 0.4 | 1.86 | 1.8569 |  | 2 | 1.45 | 86.05 | 1.8089 | 0.37156
|  | 2 | 1.4 | 7.79 | 6.8713 |  | 3 | 2.45 | 60.76 | 1.2843 | 0.89609
|  | 3 | 2.4 | 12.28 | 12.5269 |  | 4 | 3.45 | 45.08 | 0.94204 | 1.2384
|  | 4 | 3.4 | 19.32 | 19.0122 |  | 5 | 4.45 | 33.74 | 0.68751 | 1.4929
|  | 5 | 4.4 | 26.57 | 26.613 |  | 6 | 5.45 | 25.88 | 0.4848 | 1.6956 | From exponential fits of discharge curves |  |  |  | R added/ohm | V0 | RC from trendline /s
|  | 6 | 5.4 | 39.49 | 35.7945 |  | 7 | 6.45 | 17.43 | 0.31634 | 1.8641 | R added/ohm |  | RC from trendline | V0 from trendline /V | 0 | 9.0548 | 1.3468
|  | 7 | 6.4 | 53.4 | 47.3916 |  | 8 | 7.45 | 11.7 | 0.1722 | 2.0082 | 0 |  | 1.3477 | 9.1 | 100 | 9.5879 | 14.771
|  | 8 | 7.4 | 93.6 | 63.1473 |  | 9 | 8.45 | 5.79 | 0.046251 | 2.1342 | 100 |  | 14.7059 | 9.6 | 330 | 9.7406 | 44.2478
|  | 9 | 8.4 |  | 87.8325 |  | 9.4 | 8.85 | 6.64 | 0 | 2.1804 | 330 |  | 43.4783 | 9.7
|  | 9.5 | 8.9 |  | 108.5123
|  | Theoretical model |  |  |  | Discharging
`
Charging
[16 empty] | Capacitance C /F | 0.13
[16 empty] | R0 /ohms | 11.8281
[12 empty] | Capacitance C /F | 0.1272
[12 empty] | R0 /ohms | 12.6494
Note on E4: Andrew French: Estimate!
Note on I6: Andrew French: Assume to be 0.55 Not explicitly measured!
Note on E18: Andrew French: Estimate!
Note on E32: Andrew French: Estimate!
Calculation using RC values from gradient of ln(V) vs t
Calculation using RC values from exponential fit of discharge curves