## Sheet1
TRANSFORMER INVESTIGATION
Andy French. Winchester College P5. 30/10/2020
All voltages and currents are RMS AC (50Hz).
No secondary coil |  | With secondary coil |  |  |  |  | Predicted | Predicted | Measured
Primary voltage Vp /V | Primary current Ip /A | Primary voltage Vp /V | Primary current Ip /A | Primary turns Np | Secondary turns Ns | Np/Ns | Secondary voltage Vs /V | Secondary current Is /A | Secondary voltage Vs /V
2.12 | 2.82 | 2.24 | 0.08 | 120 | 5 | 24 | 0.093333 | 67.68 | 0.09
2.12 | 2.84 | 2.24 | 0.08 | 120 | 7 | 17.1429 | 0.13067 | 48.6857 | 0.127
2.12 | 2.82 | 2.24 | 0.09 | 120 | 9 | 13.3333 | 0.168 | 37.6 | 0.162
2.12 | 2.82 | 2.24 | 0.09 | 120 | 11 | 10.9091 | 0.20533 | 30.7636 | 0.199
2.12 | 2.85 | 2.24 | 0.08 | 120 | 13 | 9.2308 | 0.24267 | 26.3077 | 0.236
2.12 | 2.85 | 2.24 | 0.17 | 120 | 15 | 8 | 0.28 | 22.8 | 0.27
2.12 | 2.82 | 2.24 | 0.07 | 120 | 17 | 7.0588 | 0.31733 | 19.9059 | 0.309
2.12 | 2.86 | 2.24 | 0.07 | 120 | 19 | 6.3158 | 0.35467 | 18.0632 | 0.344
2.12 | 2.87 | 2.24 | 0.07 | 120 | 21 | 5.7143 | 0.392 | 16.4 | 0.382
2.12 | 2.88 | 2.24 | 0.07 | 120 | 23 | 5.2174 | 0.42933 | 15.0261 | 0.419
2.12 | 2.88 | 2.24 | 0.07 | 120 | 25 | 4.8 | 0.46667 | 13.824 | 0.455
2.12 | 2.89 | 2.24 | 0.06 | 120 | 27 | 4.4444 | 0.504 | 12.8444 | 0.493
2.12 | 2.9 | 2.25 | 0.07 | 120 | 29 | 4.1379 | 0.54375 | 12 | 0.535
2.22 | 0.97 | 2.24 | 0 | 240 | 29 | 8.2759 | 0.27067 | 8.0276 | 0.268
2.22 | 0.99 | 2.25 | 0 | 240 | 27 | 8.8889 | 0.25312 | 8.8 | 0.249
2.22 | 0.99 | 2.25 | 0 | 240 | 25 | 9.6 | 0.23438 | 9.504 | 0.222
2.23 | 0.99 | 2.25 | 0 | 240 | 23 | 10.4348 | 0.21562 | 10.3304 | 0.203
2.22 | 0.98 | 2.25 | 0 | 240 | 21 | 11.4286 | 0.19687 | 11.2 | 0.185
2.21 | 0.99 | 2.24 | 0 | 240 | 19 | 12.6316 | 0.17733 | 12.5053 | 0.166
2.21 | 1 | 2.24 | 0 | 240 | 17 | 14.1176 | 0.15867 | 14.1176 | 0.147
2.21 | 0.99 | 2.23 | 0 | 240 | 15 | 16 | 0.13937 | 15.84 | 0.128
2.2 | 0.98 | 2.23 | 0 | 240 | 13 | 18.4615 | 0.12079 | 18.0923 | 0.11
2.2 | 0.98 | 2.23 | 0 | 240 | 11 | 21.8182 | 0.10221 | 21.3818 | 0.091
2.2 | 0.99 | 2.25 | 0 | 240 | 9 | 26.6667 | 0.084375 | 26.4 | 0.074
2.22 | 1 | 2.25 | 0 | 240 | 7 | 34.2857 | 0.065625 | 34.2857 | 0.055
2.22 | 1 | 2.25 | 0 | 240 | 5 | 48 | 0.046875 | 48 | 0.037